### Prior to Test Date

- Provide instructions to subject

  - proper clothing and shoes

  - food consumption before test

  - time allotment for the test

  - Explain how bioimpedance scales work

      - a small electric current is sent through the body

      - this current is not detectable

      - the test lasts about 2-3 minutes

- Verify with subject

  - time, date, and location

- Check all equipment is working and is calibrated

- Check supplies

- Clean bioimpedance scale before subject arrives using disinfectant wipes for hand holds and feet placement

- Send subject waiver form

- Answer all subject's questions

### On Test day

- Review test procedures with subject and answer all questions

- Subject signs waiver and submits ACSM screening questionnaire.

- Confirm subject meets screening criteria.

  - For body composition testing using bioimpedance, the subject cannot have any implantable metal.

- Fill out subject data form

  - Measure height, weight, etc.

- Invite subject to use the restroom

- Have subject stand barefoot on the scale and grab hand holds

- Conduct test by pressing the ‘start’ button on the scale

- Subject stands still while measurement is taken

- When test is finished, print report.

- Ask the subject if they have any questions